Photoelectric effect and Planck’s constant

1.  Purpose

- To verify the photoelectric effect.

- To do measurements that enables us to calculate the kinetic energy of the electrons as a function of the frequency of the light.

- To calculate Planck’s constant h from these results

- To show that the kinetic energy of the electrons is independent of the intensity of the light.

2.  HISTORICAL AND THEORETICAL BACKGROUD

Max Planck (1858-1947) found the famous Planck black-body radiation law by interpolating between the laws of Wien and Rayleigh-Jeans. The radiation law described the experimentally observed black-body spectrum very well; it was first proposed in a meeting of the DPG on October 19, 1900 and published in 1901.

The Planck constant, , was proposed in reference to the problem of black-body radiation. The underlying assumption to Planck's law of black body radiation was that the electromagnetic radiation emitted by a black body could be modeled as a set of harmonic oscillators with quantized energy of the form.is the quantized energy of the photons of radiation having frequency (Hz) of . This model proved extremely accurate, but it provided an intellectual stumbling block for theoreticians who did not understand where the quantization of energy arose — Planck himself only considered it "a purely formal assumption". This line of questioning helped lead to the formation of quantum mechanics. (Information above from Wikipedia).

Electrons can be liberated from the surface of certain metals by irradiating them with light of a sufficiently short wavelength (photoelectric effect). Their energy depends on the frequency  of the incident light, but not on the intensity; the intensity only determines the number of liberated electrons. This fact contradicts the principles of classical physics, and was first interpreted in 1905 by Albert Einstein. He postulated that light consists of a flux of particles, called photons, whose energy E is proportional to the frequency: . The irradiated photons may then “hit” an electron in the metal and, if the energy is greater than the ionization energy () of the atom, make the electron exit the atom.  If the photons energy is greater than the ionization energy, the rest is found as kinetic energy () of the electron (the photon “disappears”):

Since the ionization energy of the atom is a constant, we can calculate Plancks constant h by measuring the kinetic energy  of the ejecting electrons.  This is done by means of the setup in figure 1. We use a photocell with an anode which is used to slow down the electrons which are ejected when we illuminate the cathode layer with monochromatic light.  The anode voltage is made by charging a capacitor with the ejecting electrons. The voltage in the capacitor will then rise until the ejecting electrons are no longer able to reach the anode – then we know that the electric potential between the anode and cathode is exactly equal to the kinetic energy.  The work done on a charge that falls trough a electric potential U is given by (e is the charge of the elecrons – the elementary charge). We measure this voltage and wait until it reaches the limit voltage , which then gives us a measure of the kinetic energy of the electrons. Then we can set in the above equation:

Figure 1

We then are able to express this voltage as a linear function of frequency of the light:

This is a linear function with slope , so that if we measure the voltage for light with different frequency and find the slope of the best-fit straight line trough these points, we can multiply this by and get an estimate for Planck’s constant.

3.  SETUP

3.1. Introduction

The photo cell is used to demonstrate the photoelectric effect. When the photocathode is irradiated with light, electrons are liberated from the photocathode and can be detected at the anode ring as a photoelectric current in a suitable circuit. This device can be used to show that the energy of the light is proportional to the frequency of the radiation and independent of the intensity of the radiation. When the photocathode is irradiated with monochromatic light, it is possible to determine Planck’s constant. In addition to confirming Planck’s calculations for the radiation of a black body, Einstein’s interpretation of these experiments confirmed the quantum nature of light.

3.2. Equipment

(Numbers are Leybold product numbers)

1 Photo cell for determining Planck’s constant 558 77

1 Basic device for photo cell . . . . . . . . . 558 791

1 High pressure mercury lamp . . . . . . . . 451 15

1 Lamp socket E27 on rod for high-pressure

1 mercury lamp . . . . . . . . . . . . . . . . 451 19

1 Universal choke, in housing, 230 V, 50 Hz . 451 30

1 Lens in holder, f = + 100 mm . . . . . . . . 460 03

1 Iris diaphragm in holder . . . . . . . . . . . 460 26

1 Filter revolver . . . . . . . . . . . . . . . . 558 792

1 Interference filter 578 nm . . . . . . . . . . 468 401

1 Interference filter 546 nm . . . . . . . . . . 468 402

1 Interference filter 436 nm . . . . . . . . . . 468 403

1 Interference filter 405 nm . . . . . . . . . . 468 404

1 Electrometer amplifier . . . . . . . . . . . 532 14

1 Plug-in unit 230 V AC/12 V AC . . . . . . . 562 791

1 STE capacitor, 100 pF, 630 V . . . . . . . . 578 22

1 STE key switch (N.O.) . . . . . . . . . . . . 579 10

1 Voltmeter, DC . . . . . . . . . . . . . . e.g. 531 100

1 Optical bench with standard profile, 1 m . . 460 32

or

1 Auxiliary bench w. swivel joint 0.5 m . . . . 460 34

2 Optics riders, height: 90 mm, width: 50 mm 460 352

3 Optics riders, height: 120 mm, width: 50 mm 460 357

2 Clamping plugs . . . . . . . . . . . . . . . 590 011

1 Straight, BNC . . . . . . . . . . . . . . . . 501 10

1 BNC adapter for 4-mm socket, 1-pole . . . 501 09

1 Coupling plug . . . . . . . . . . . . . . . . 340 89

1 Distribution box . . . . . . . . . . . . . . . 502 04

Connecting leads

3.3. Assembling the experiment

Optical setup:

Figure 2

Fig. 2 shows the experiment setup; the position of the left edge of the optical riders is given in cm.

- Connect the universal choke to the mains via the distribution box.

- Mount the high-pressure mercury lamp (a) at the marked position using an optical rider (H = 90 mm), connect it to the universal choke and switch it on.

- Mount the photocell (e) at the marked position using an optical rider (H = 90 mm); remove the cover and align the photocell so that the coated black surface is facing the mercury lamp. Do not attach the cover yet.

- Mount the iris diaphragm (b) on the optical bench at the marked position using an optical rider (H = 120 mm).

- Mount the lens (c) at the marked position using an optical rider (H = 120 mm), revolve the filter holder so that there is no filter in the lightray.

- Mount the filter revolver with interference filter (d) at the marked position using an optical rider

- Adjust the heights so that the center of the lens and all other equipment is at the same height as the center of the iris diaphragm.

Note: The following is crucial for the measurements.  The light from the mercury lamp should  produce a sharp light spot on the black coating (the sensitive area) of the photocell. The light should not fall on the metal ring nor on the part of the black-coated area to which the contacts are attached. The edge zones should not be illuminated either.

To ensure that this is so, carry out the following procedure, repeating as often as necessary to produce the optimum image:

- Vary the height of the iris diaphragm and the lens so that the light spot falls on the black zone of the photocell; make sure that the center of the lens is always on the same level with that of the iris diaphragm. You may also need to adjust the height and inclination of the photocell (using the screws below the base). Turn the photocell sideways, observing the reflected light on the glass bulb so that the reflected light overlaps the incident light. This is to ensure that the photocell is perpendicular to the light ray.

- Using the iris diaphragm, adjust the size of the light spot so that it illuminates the largest possible area of the black zone of the photocell, without shining on the outer zones, the metal ring or the contacts on the black coating.

- Focus the light spot as necessary by moving the lens along the optical bench. It is neither possible nor necessary to get a completely focused image of the lamp on the photocell.

- Place the cover over the photocell and connect the iris diaphragm of the filter revolver with the cover of the photo cell to prevent scattered light from reaching the photocell.

Electrical assembly:

Figure 3

Set up the electrometer amplifier circuit as shown in Fig. 3.

- Attach terminal plug (f) and connect the 100 pF capacitor and the key switch.

- Attach coupling plug (g), the BNC/4 mm adapter and the straight BNC and connect these to the gray screened cable of the photocell.

- Connect both black cables (h) of the photocell to the ground connection on the electrometer amplifier.

- Connect the multimeter to the output of the electrometer amplifier.

- Connect the plug-in supply unit (12 V) to the electrometer amplifier and plug it in via the distribution box.

- Connect the optical bench (and possibly the rod of the basic device of the photocell) to the ground connection of the electrometer amplifier, and connect this terminal to the external ground of the distribution box.

4. SAFETY PRECAUTIONS

The high pressure mercury lamp also emits light in the UV range, and can thus damage the eyes.  Never look into the direct or reflected beam of light from the high pressure mercury lamp.

5. EXPERIMENTAL PROCEDURE

- Switch on the multimeter and set the range switch to 1 V DC.

- Turn the interference filter for yellow light ( = 578 nm) into the beam path.

- Discharge the capacitor by holding down the key switch until the multimeter reads zero V.

- Start the measurement by releasing the key switch; wait about 30 s to 1 minute, until the capacitor has charged to the limit voltage U0. Write down the measured value for U0 in a table like the one below.

- Turn the interference filter for green light ( = 546 nm) into the beam path and repeat the measurement.

- Repeat the measurement with the blue ( = 436 nm) and violet ( = 405 nm) interference filters.

- Vary the intensity of the incident light at the photocell using the iris diaphragm of the filter revolver and measure the limit voltage U0 for each setting, to check if there is a difference.

6.  OBSERVATIONS AND CALCULATIONS

Measure the limit voltage U0 for different wavelengths as described above and fill in the table:

| Color |  |  | (V) |
| --- | --- | --- | --- |
| Yellow | 578 | 519 |  |
| Green | 546 | 549 |  |
| Blue | 436 | 688 |  |
| Violet | 405 | 741 |  |

Plot the measurements in a coordinate system with frequency () in THz on the first axis, and Voltage () in Volts on the second, and make a best fit of a straight line trough the points (and/or by linear regression analysis of the measurements) and calculate the slope of the line.  According to the theory (see section 2 above) this slope is equal to Plancks constant (Litterature value: ). Observe that since the unit of the first axis is THz, you have to multiply by to get the answer in Js.

7.  GUIDANCE TO THE TEACHER

Dirt on the photocell can cause leakage currents between the anode and the cathode which can affect the measurement of the limit voltage U0. Clean the photocell with alcohol.

The voltage at the capacitor can be influenced by induction effects. Move this part as little as possible during the experiment. You do not need to darken the room; this has no effect on the measurement results.

If the iris diaphragm is closed too far, this may affect the uniform illumination of the light spot on the cathode. Also, leakage currents will play an increasing role.